Instructions for the analysis of case C : Strong wall reflection

28/10/00 contact : Pr Stanislas pivnet-sig32@univ-lille1.fr

The set of images is referenced C001_1.tif and C001_2.tif. Their size is 1000 x 512 pixel. They are provided in tif format with a header of  8 pixels. These images were recorded in a centrifugal impeller with a pulsed YAG laser (about 300 mJ/pulse) and PEG smoke (about 1 micron in diameter). They are selected for the strong reflection occurring on the trailing edge of the blade. The black line going across the field from bottom right to top left is a shadow used to limit the flare on the trailing edge. The two white circles are the two edges of the fixed vaneless diffuser.

Camera characteristics

## Type					KODAK ES1.0 b & w

Resolution				1008x1018 pixels.

Framing rate				30 frames/s.

Image capture				Progressive Scan, full frame.

asynchronous reset.

single or double exposure.

CCD	size				9,072 x 9,162 mm.

Pixel	size				9µm x 9µm.

Image coding				8 bits.

Gamma				1.

Exposure time				In double exposure mode:

255 µs for image 1.

32.436 ms for image 2.

Lens					Nikkor 35 mm f/2.

Acquisition software			INSIGHT 2.10.

Together with the PIV images are provided 2 background images named Cbg_1.tif and Cbg_2.tif in the same format. These images were obtained in the same experimental conditions, just by cutting of the seeding.

Also provided is 1 mask named Cmask_1.tif, in the form of a binary image, corresponding to the obstacles present in the image. The measurement points inside the black mask should have a value of 0 in the velocity matrix and in the flag matrix.

The reference analysis for this case is :

:ev_IS_size_x                     = 32;

:ev_IS_size_y                     = 32;

:ev_IS_size_unit         = "pixel";

:ev_IS_grid_distance_x          = 16;

:ev_IS_grid_distance_y          = 16;

:ev_IS_grid_distance_unit      = "pixel";

:ev_origin_of_evaluation        = 16, 16;

:ev_origin_of_evaluation_units  = "pixel";

:ev_IS_offset   = 0, 0;

:ev_IS_offset_units = "pixel";

:ev_CF_xy_distortion = 1.0 ;

:ev_cf_fill_ratio = 0.6;

The mandatory data to be provided are :

Raw data : C001_team_ref_raw.nc

- the raw velocity field corresponding to the highest correlation peak outside the mask (raw)

- the corresponding histogram ,

- 4 samples of correlation windows at

| x (pixels) | y (pixels) |
| --- | --- |
| 624 | 256 |
| 288 | 352 |
| 160 | 160 |
| 896 | 432 |

- a matrix of correlation peak height

- the type of processor used

- the processing time per velocity vector

Post processed data : C001_team_ref_clean.nc

- the post-processed velocity fields without interpolation and/or filtering with the corresponding histogram (clean),

- a flag matrix giving the location of spurious vectors and holes

- a matrix of correlation peak height

- the mean velocity over the map outside the mask (Umean, Vmean)

- the standard deviation over the map outside the mask (u’, v’)

- the total number of valid vectors

- the type of processor used

- the processing time per velocity vector.

Interpolated data :

Interpolated velocity map is optional for this set.